## Electricity
| End-uses | Total annual EUI (kWh/m2)
0 | Fans & pumps | 19.7197
1 | Lighting & plug loads | 96.1048
2 | Chillers | 91.5007

## Heating
| End-uses | Total annual EUI (kWh/m2)
0 | Perimeter heating | 31.7122
1 | Heating coils (per AHU) | [1.98260151 0.19587853]
2 | Other | 7.9905

## Cooling
| End-uses | Total annual EUI (kWh/m2)
0 | Cooling coils (per AHU) | [17.16685669 16.78984573]