## ahuMdl
| dtCc | dtHc | oaFrac
0 | -15.9031 | -2.5119 | 0.49285
1 | -12.2594 | 8.5503 | 0.25299

## faults
| AHU | AHU Health Index (%) | Cooling coil | Economizer | Heating Coil | Outdoor Air Damper | Schedule | Supply air temperature
0 | ahu1.csv | 50 | Normal | Normal | Stuck | Normal | Check mode of operation logic | Check supply air temperature reset logic
1 | ahu2.csv | 33.3333 | Normal | Normal | Stuck | Low outdoor air | Check mode of operation logic | Check supply air temperature reset logic