## Electricity
| End-uses | Total annual EUI (kWh/m2)
0 | Fans & pumps | 19
1 | Lighting & plug loads | 96
2 | Chillers | 92

## Heating
| End-uses | Total annual EUI (kWh/m2)
0 | Perimeter heating | 32
1 | Heating coils (per AHU) | [2 0]
2 | Other | 8

## Cooling
| End-uses | Total annual EUI (kWh/m2)
0 | Cooling coils (per AHU) | [17 17]