## Electricity
| End-uses | Total annual EUI (kWh/m2)
0 | Fans & pumps | 18.9136
1 | Lighting & plug loads | 103.9555
2 | Chillers | 100.6792

## Heating
| End-uses | Total annual EUI (kWh/m2)
0 | Perimeter heating | 34.3151
1 | Heating coils (per AHU) | [2.09604591 0.21312806]
2 | Other | 8.8154

## Cooling
| End-uses | Total annual EUI (kWh/m2)
0 | Cooling coils (per AHU) | [18.59965668 18.21213388]